## Slide 1: A Novel Hybrid Modeling Method for Predicting Energy Use of Hydronic Radiant Slab Systems
Lichen WU1, Liping WANG1, James BRAUN2
1Department of Civil and Architectural Engineering, University of Wyoming, Laramie, WY, 82071, United States
lwang12@uwyo.edu
2School of Mechanical Engineering, Purdue University, West Lafayette, IN 47907-2088, United States

## Slide 2: Motivation
Challenge
  radiant slab systems with large thermal capacitance
Existing approaches
  first-principles (e.g., CFD)
  Inverse grey-box Resistor-Capacitor (RC) model
  Data-driven approach (Gaussian mixture regression, growing-GMR)
Notes: How to describe the current challenges

## Slide 3: System load preview
where is the supply and return water temperature; is the heat capacity; is density; is the flow volume rate.

## Slide 4: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 5: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 6: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 7: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 8: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 9: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 10: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 11: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 12: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 13: Intro to RC, GMR and GGMR
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 14: Intro to RC, GMR and GGMR
GMR
Notes: https://stats.stackexchange.com/q/517652
Expected Maximization algorithm

## Slide 15: Intro to RC, GMR and GGMR
New Data
New
Component
Components
grow
New Data
New
Component
Components
grow
Components
…

## Slide 16: Novel approach
Hybrid approach
  RC + GGMR
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 17: Novel approach
Hybrid approach
  RC + GGMR
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 18: Novel approach
Hybrid approach
  RC + GGMR
    Warm-up time steps
    Complexities
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 19: RC approach

## Slide 20: RC approach

## Slide 21: Metrics
Absolute error
  Mean absolute errors (MAE)
Relative percentage errors
  RMSE (NRMSE, CVRMSE)
  Mean absolute percentage error

## Slide 22: Performance

## Slide 23: Q & A
Why GGMR is necessary
Why RC is necessary?
Why hybrid is necessary?
Have you tried other features for GGMR?
What’s the input variables for RC (dTsource can be predicted?)

## Slide 24: GGMR-Update Rules

## Slide 25: Hourly Performance

## Slide 26: Metrics
Absolute error
  Mean absolute errors (MAE)
Relative percentage errors
  RMSE (NRMSE, CVRMSE)
  Mean absolute percentage error

## Slide 27: Metrics
Absolute error
  Mean absolute errors (MAE)
Relative percentage errors
  RMSE (NRMSE, CVRMSE)
  Mean absolute percentage error

## Slide 28: Metrics
Absolute error
  Mean absolute errors (MAE)
Relative percentage errors
  RMSE (NRMSE, CVRMSE)
  Mean absolute percentage error
Notes: Mape

## Slide 29: Performance
Dated load predictions, percentage errors

## Slide 30: Performance
Dated load predictions, percentage errors

## Slide 31: Performance

## Slide 32: Conclusions?

## Slide 33: Motivation
Challenge
  radiant slab systems with large thermal capacitance
Existing approaches
  first-principles (e.g., CFD)
  Inverse grey-box Resistor-Capacitor (RC) model
  Data-driven approach (Gaussian mixture regression, growing-GMR)
Notes: How to describe the current challenges

## Slide 34: Motivation
Challenge
  radiant slab systems with large thermal capacitance
Existing approaches
  first-principles (e.g., CFD)
  Inverse grey-box Resistor-Capacitor (RC) model
  Data-driven approach (Gaussian mixture regression, growing-GMR)
Notes: How to describe the current challenges

## Slide 35: Motivation
Challenge
  radiant slab systems with large thermal capacitance
Existing approaches
  first-principles (e.g., CFD)
  Inverse grey-box Resistor-Capacitor (RC) model
  Data-driven approach (Gaussian mixture regression, growing-GMR)
Notes: How to describe the current challenges

## Slide 36: Novel approach
Hybrid approach
  RC + GGMR
    Complexities
    Warm-up time steps
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 37: RC approach

## Slide 38: RC approach

## Slide 39: RC approach