## Slide 1
GGMR model inputs
Historical data
(HRSS operation, outdoor, indoor condition)
Building physical description
GMM
RC
Hybrid
Approach
Training
Training
Real-time measurements
Predicted load
Update
RC model Inputs
Notes: 𝑇_𝑠𝑜𝑢𝑟𝑐𝑒,𝑄 ̇_𝑠𝑜𝑙,𝑄 ̇_𝑖𝑛𝑡,𝑄 ̇_𝑙𝑖𝑔ℎ𝑡,𝑄 ̇_𝐴𝐻𝑈,(𝑑𝑇_𝑠𝑜𝑢𝑟𝑐𝑒)/𝑑𝑡,𝑇_𝑜𝑢𝑡,𝑇_𝑠𝑙𝑎𝑏1,𝑇_𝑐𝑎𝑣,𝑉𝑎𝑙𝑣𝑒_𝑐𝑙,𝑉𝑎𝑙𝑣𝑒_ℎ𝑡

## Slide 5
Historical data
(HRSS operation, outdoor, indoor condition)
Building physical description
GMM
RC
Hybrid
Training
Training
Real-time measurements
Predicted load
Update
Notes: 𝑇_𝑠𝑜𝑢𝑟𝑐𝑒,𝑄 ̇_𝑠𝑜𝑙,𝑄 ̇_𝑖𝑛𝑡,𝑄 ̇_𝑙𝑖𝑔ℎ𝑡,𝑄 ̇_𝐴𝐻𝑈,(𝑑𝑇_𝑠𝑜𝑢𝑟𝑐𝑒)/𝑑𝑡,𝑇_𝑜𝑢𝑡,𝑇_𝑠𝑙𝑎𝑏1,𝑇_𝑐𝑎𝑣,𝑉𝑎𝑙𝑣𝑒_𝑐𝑙,𝑉𝑎𝑙𝑣𝑒_ℎ𝑡

## Slide 8
Pipe
Concrete
Insulation

## Slide 9
GGMR
Module
Target time step,
input
RC Network
Warming Up
RC Network Prediction
RC predicted system
load at time step,
RC Module
input

## Slide 12
/ 2
/ 2

## Slide 19
2
3

## Slide 20
Electricity /Gas …
Heating/cooling loads due to outdoor/indoor environment
Hot Water / Chilled Water