## Slide 1: A Novel Hybrid Modeling Method for Predicting Energy Use of Hydronic Radiant Slab Systems
Lichen WU1, Liping WANG1, James BRAUN2
1Department of Civil and Architectural Engineering, University of Wyoming, Laramie, WY, 82071, United States
2School of Mechanical Engineering, Purdue University, West Lafayette, IN 47907-2088, United States

## Slide 2: System load
where is the supply and return water temperature; is the specific heat capacity; is density; is the flow volume rate.
Challenge
  radiant slab systems large thermal capacitance
Notes: The load definition in the current study.

## Slide 3: Building performance models
White box:
Finite difference
Black box:
Neural network
(Growing) Gaussian Mixture Regression
Gray box:
Resistor-Capacitor (RC)
This study: RC+GGMR

## Slide 4: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialized
    Recursive prediction
Notes: Input variables, State variables, Output variables
Training purpose (realistic enough/ And the trained parameters will be fixed for prediction)
1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 5: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialized
    Recursive prediction
Notes: Discretized State Space equation is used, why?
How the discretized equations are related to spin-up/warm-up time steps?
1 Developing
2. Training process

## Slide 6: RC models

## Slide 7: GMR
GMR
Notes: https://stats.stackexchange.com/q/517652
Expected Maximization algorithm

## Slide 8: GGMR
New Data
New
Component
Components
grow
New Data
New
Component
Components
grow
Components
…
Notes: To add the GMR model
To add the updated rules

## Slide 9: Hybrid
Hybrid approach
  RC + GGMR
    Warm-up time steps
    Complexities
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 10: Metrics
Absolute error
  Mean absolute errors (MAE)
Relative percentage errors
  RMSE (NRMSE, CVRMSE)
  Mean absolute percentage error

## Slide 11: Performance

## Slide 12: Performance

## Slide 13: Q&A
Thank you!

## Slide 14: Q & A
Why GGMR is necessary
Why RC is necessary?
Why hybrid is necessary?
Have you tried other features for GGMR?
What’s the input variables for RC (can be predicted?)

## Slide 15: GGMR-Update Rules

## Slide 16: Hourly Performance Explanation

## Slide 17: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 18: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 19: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
Heat balance -> State space representation
(Physical components ->Temperature nodes (Which one? How many?))
Inputs -> Outdoor temperature, solar radiation
Output -> Space load, secondary load, primary energy loads

## Slide 20: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 21: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 22: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 23: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 24: Motivation
Challenge
  radiant slab systems with large thermal capacitance
Existing approaches
  first-principles (e.g., CFD)
  Inverse grey-box Resistor-Capacitor (RC) model
  Data-driven approach (Gaussian mixture regression, growing-GMR)
Notes: How to describe the current challenges

## Slide 25: Hybrid
Hybrid approach
  RC + GGMR
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 26: Hybrid
Hybrid approach
  RC + GGMR
GGMR
Module
Current timestamp,
input
RC model
warming up
RC model prediction
RC predicted load at timestamp j,
RC Module
input
Notes: Simple RC models and warming up steps

## Slide 27: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 28: RC
RC
  Developing (flexible)
  Predict (warm-up time steps)
    Inputs randomly initialize
    Recursive prediction
Notes: 1 Developing
2. Training process

## Slide 29: RC models